## Slide 1
Quantitative Proteins Estimation by Lowry method
Notes: الشغل العملي قبل الشرح ،الشرح يكون في مدة الانتظار 45 دقيقه

## Slide 2
Protein Estimation
Qualitative
Quantitative
refers to descriptions or distinctions based on some quality or characteristic. It can be a form of analysis that yields the identity of a compound (Determine if specific substance is there or not, by color or some other quality).
refers to a type of information based in quantities or else quantifiable data (determination of unknown protein concentration in a sample using standard curve obtained, eg. using lowry method).

## Slide 3
Importance of determining concentration of protein
-Quantitative assays Determine the concentration of a substance.
Protein assays are one of the most widely used methods in life science research. Estimation of protein concentration is necessary in protein, cell biology, molecular biology and other research applications.
Is necessary before processing protein samples for isolation, separation and analysis.

## Slide 4
Specificity and Sensitivity of the method
Specificity of an assay relates to how good the assay is in discriminating between the requested analyte and interfering substances
Sensitivity of an assay is a measure of how little of the analyte the method can detect.

## Slide 5
Most familiar spectrophotometric methods for Determination of proteins concentration:
The factors that you should consider in choosing a method:
Sensitivity
The presence of interfering substance (Specificity)
Time available of the assay
Lowry method
Bicinchoninic acid (BCA, Smith) Method
Biuret method
Bradford Method
Warburg-Christian Method ( A280/ A260 Method)

## Slide 6
Principle of Lowery Method
Is based on two chemical reactions:
The first reaction is the reduction of copper ions under alkaline conditions, which forms a complex with peptide bonds .
The second reaction is the reduction of Folin-Ciocalteu reagent by the copper-peptide bond complex, which subsequently causes a color change of the solution into blue with an absorption in the range of 650 to 750 nm detectable with a spectrophotometer.
The advantages of this assay are its sensitivity, and most importantly, accuracy.
-However, it requires more time than other assays.

## Slide 7: Principle of Biuret Method
When proteins and peptides (i.e peptide bonds) treated with an alkaline solution of dilute copper sulfate a violet color is formed .
Note: Biuret Method used to detect the presence of proteins in a sample and can be use for Quantitative analysis of proteins .
The color density is proportional to amount of proteins present.
The more protein in a sample, the more product formed(which has a violet color), the more absorbance (because the product is the one which absorbed.

## Slide 8
A standard curve:
It is a graph that shows the relationship between different known concentrations of a substance and the absorbance at a specific wave length .
Standard curve are most commonly used to determine the concentration of a substance, using serial dilution of solutions of known concentrations[standard solution ]. such as (Bovine serum Albumin)BSA and casein.
* There is a linear relationship between absorbance and concentration.
Increased concentration => Increased color intensity => Increased absorbance value

## Slide 10
1. Set up 7 tubes as follows:
2. Add 3ml reagent C to all tubes.
Mix and let stand at room temperature for 15 min.
3. Add 0.5 ml of Folin-Ciocalteu reagent. (Add this reagent to one tube at a time and immediately after adding it mix well).
4. Let the tubes stand at room temperature for 45 min.
5. Read absorbance at 660 nm against the blank.
6. Plot a standard curve for absorbance at 660 nm against albumin std. concentration (mg/dl).
7. From the standard curve find out the unknown concentration of albumin.
Tube | Water | albumin Standard Concentration [100mg/dl] | [unknown albumin concentration]
Blank | 1 ml | - | -
A | 0.8 ml | 0.2 ml | -
B | 0.6 ml | 0.4 ml | -
C | 0.4 ml | 0.6 lm | -
D | 0.2 ml | 0.8 ml | -
E | - | 1.0 ml | -
F | - | - | 1.0 ml
Method :

## Slide 11
Tube | Concentration | Absorbance
A |  | 
B |  | 
C |  | 
D |  | 
E |  | 
F | Unknown (from curve) | 
Results :
* Calculate the concentration of each tube using :
C1 X V1 = C2 X V2